## Slide 1
2d Lt Aaron Bonner
Validating Assumptions in a Laser Speckle Simulation

## Slide 2: Overview
Previous Work on the Simulation
Spatial Coherence
Non-Linear Calibration
Polarization
Phase Retrieval

## Slide 3: Previous Work
Simulated system based on
  Gaussian Beam
  Phase Screen w/Aperture
  Detector Plane
Assumptions
  Phase screen is uniformly random
  Speckles are accurately generated
  Sensor is correctly calibrated
  Speckles appear at low power

## Slide 4: Phase Retrieval
Phase screen is uniformly random
Lab setup w/ 75mm lens
Aperture Mask
Initial Guess
G-S Algorithm
Notes: Want data of same phase and intensity
Mask is 6mm converted to pixel space

## Slide 5: Spatial Coherence
Speckles are accurately generated
Speckle pattern form from coherent light
Higher coherence increases sharpness
Wavelength impacts speckle size

## Slide 6: Non-Linear Calibration
Sensor is correctly calibrated
Estimate laser power by hand
Calculate SANUC & NLSNUC
Future usage

## Slide 7: Polarization
Speckles appear at low power
Use polarizer to emulate low power
Calibrate
Convert from photons to power
(θ)

## Slide 8: Summary
Previous Work on the Simulation
Spatial Coherence
Non-Linear Calibration
Polarization
Phase Retrieval

## Slide 9: Questions